All India Institute of Medical Sciences

Rishikesh-249203

Construction of working counter for Account Section at AIIMS Rishikesh

Ref. No. 			: 	25/SE/Civil/2020-21

Publishing Date			:	17-02-2021 at 03.00 PM

Bid Submission Start Date 	:	17-02-2021 at 03.00 PM

Last Date of Bid Submission	:	24-02-2021 up to 03.00 PM

Bid Opening			:	25-02-2021 at 03.00 PM

INDEX

Name of Work: - Construction of working counter for Account Section at AIIMS Rishikesh

-----------------------------------------------------------------------------------------------------------------------------------------

Serial No. 	Contents				           Page No. 	                         Remarks

1.	Cover Page					1

2.	Index						2

PART - A

2.	Notice inviting tender				3

3.	Information and instructions for Contractors	4 to 6

4.	Notice inviting tender				7 to 8

(CPWD - 6)

5.                       Integrity Pact                                                         09 to 16

6.	Tender and contract (Civil) 		 	17 to 18

7.	Schedule “A” to “F” (Civil)			19 to 24

PART - B

8.	Particular specification and

Special conditions (Civil)			25 to 32

9.                       List of approved make				33 to 34

10.	Schedule of Quantities                                          35 to 35

--------------------------------------------------------------------------------------------------------------------------

Certified that this bid document contains pages 1 to 35 (One to Thirty Five page).

Executive Engineer

AIIMS, Rishikesh

Tender document may be downloaded from CPPP site https://eprocure.gov.in

NIT may be downloaded from institute’s website www.aiimsrishikesh.edu.in

AIIMS, Rishikesh

NOTICE INVITING TENDER

The Executive Engineer, AIIMS Rishikesh on behalf of Director, AIIMS Rishikesh invites Item rate e-tenders from enlisted contractor of CPWD, MES, Railway and state government of Uttarakhand for the following work :-

NIT No. : 25/SE/Civil/2020-21.

Name of Work: - Construction of working counter for Account Section at AIIMS Rishikesh

Estimated Cost: Rs. 2,96,730.00, Earnest Money: Attach declaration form to be typed on Rs 10 non-judicial stamp paper  in lieu of EMD   & Period of completion:  01 (One) month

Last date & time of submission of bids: 24-02-2021 up to 03:00PM

The tender forms and other details can be seen and downloaded from the website www.aiimsrishikesh.edu.in or CPPP site http://eprocure.gov.in

INFORMATION    AND    INSTRUCTIONS    FOR    CONTRACTORS    FOR    e-TENDERING FORMING PART OF NIT AND TO BE POSTED ON WEBSITE

The Executive Engineer, AIIMS Rishikesh on behalf of Director, AIIMS Rishikesh invites Item rate e-tenders from from enlisted contractor of CPWD, MES, Railway and state government of Uttarakhand for the following work:

| Name of work & Location | Estimated cost put to bid | Tender Fee | Earnest Money | Period of Completion | Last date & time of submission of bid | Time & date of opening of bid |
| --- | --- | --- | --- | --- | --- | --- |
| Construction of working counter for Account Section at AIIMS Rishikesh | Rs. 2,96,730.00 | Rs. 1180.00 | Attach declaration form to be typed on Rs 10 non-judicial stamp paper in lieu of EMD | 1( One month) | 24-02-2021 upto 03:00 PM | 25-02-2021 at 03:00 PM |

- The intending bidder must read the terms and conditions of CPWD-6 carefully. He should only submit his bid if he considers himself eligible and he is in possession of all the documents required.

- Information and Instructions for bidders posted on website shall form part of bid document.

- The bid document consisting of plans, specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents can be seen and downloaded from website www.aiimsrishikesh.edu.in  or https://eprocure.gov.in

- But the bid can only be submitted after depositing tender fee in favour of AIIMS Rishikesh in following bank account.

- Bank Name: -  Punjab National Bank

- Branch Name: - PNB Pashulok

- Account Number: - 6189000100021125

- IFSC Code: - PUNB0618900

- Those contractors not registered on the website mentioned above, are requested to get registered beforehand.

- The intending bidder must have valid class-III digital signature to submit the bid.

- On opening date, the contractor can login and see the bid opening process. After opening of bids he will receive the competitor bid sheets.

- Contractor can upload documents in the form of PDF format only.

- Contractor must ensure to quote rate of each item. In addition to this, while selecting any of the cells a warning appears that if any cell is left blank the same shall be treated as “0”. Therefore, if any cell is left blank and no rate is quoted by the bidder, rate of such items shall be treated as “0” (Zero).

- The contractor should quote the rate of item including GST as per statutory rules.

11. The successful bidders has to execute a contract on Indian non judicial stamp paper of Rs.100/- (Rupees one hundred only) within fifteen (15) days from the date of award of this tender in his favour and also required to furnish the security deposit @ 3% against performance guarantee of contract value in the form of FD from any Nationalized/Schedule bank duly pledged in favour of AIIMS, Rishikesh & payable at Rishikesh only. The EMD deposited by successful bidder may be adjusted towards Security Deposit as demanded above. If the successful bidder fails to furnish the full security deposit or difference amount between Security Deposit and EMD within 15 (fifteen) days after the issue of Letter of Award of Work, his bid security (EMD) shall be forfeited and award of tender in suppliers favour automatically stands terminated at his cost & liability, unless time extension has been granted by AIIMS, Rishikesh.

12. The bid shall be valid and open for acceptance by the competent authority of AIIMS Rishikesh for a period of 90 (ninety) days from the published date of opening of the tenders and no request for any variation in quoted rates and / withdrawal of tender on any ground by bidders shall be entertained. The unilateral withdraw at any stage will cause forfeiture of EMD in addition to any remedy that the purchaser may have under the law. If any bidder withdraws his bid before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of the bid which are not acceptable to the department, then the Government shall, without prejudice to any other 	right or remedy, be at liberty to forfeit 100% of the said earnest money as aforesaid. Further the bidders shall not be allowed to 	participate in the re-bidding process of the work.

13. List of Documents to be scanned and uploaded and submitted in hard copy in EE office at AIIMS Rishikesh within the period of bid submission:

I. UTR number of RTGS payment towards Tender fee in favor of AIIMS Rishikesh. guarantee of any scheduled bank against tender fee.

II. Certificate of Registration for GST and acknowledgement of up to date filed return.

III. Certificate of work experience from government agency or another certified agency. (As specified in Clause 1.2.1 of  CPWD-6)

IV. There is no exemption on tender fees.

V. Enlistment certificate.

14. Due to Scarcity of funds payments may be get delayed. Contractor shall not claim anything because of delayed payments.

BID SECURITY DECLARATION

(TO BE TYPED ON NON-JUDICAL STAMP PAPER OF RS.10/-)

Performa for Earnest Money Deposit Declaration

Whereas, I/We ………………………………………….…………….. (name of agency) ..…………………………………

have submitted bids for

(Name of work) :- Construction of working counter for Account Section at AIIMS Rishikesh

NIT No. 25/SE/Civil/2020-21

I/We hereby submit following declaration in lieu of submitting Earnest Money Deposit.

- If after the opening of tender, I/We withdraw or modify my/our bid during the period of validity of

tender (including extended validity of tender) specified in the tender documents.

- If, after the award of work, I/We fail to sign the contract, or to submit performance guarantee before

the deadline defined in the tender documents.

I/We shall be suspended for two year and shall not be eligible to bid for AIIMS, Rishikesh tenders from

date of issue of suspension order.

Signature of the contractor(s)

CPWD - 6

Govt. of India

AIIMS, Rishikesh

Notice Inviting e-Tender

Item rate tenders are invited on behalf of Director, AIIMS Rishikesh from contractors for the work of “Construction of working counter for Account Section at AIIMS Rishikesh”

1.1	       The work is estimated to Cost Rs 2,96,730.00, this estimate, however, is given merely as a rough

guide.

1.2	Intending tenderer is eligible to submit the bid provided he has definite proof from the appropriate authority, which shall be to the satisfaction of the competent authority, of having satisfactorily completed similar works of magnitude specified below: -

Criteria of eligibility for submission of bid documents

1.2.1    Criteria of eligibility

Three similar works each of value not less than Rs. 1,18,692.00 or two similar work each of value not    less than Rs.1,78,038.00 or one similar work of value not less than Rs.2,37,384.00 in last 7 years ending last day of the month previous to the one in which the tenders are invited.

Similar works means Experience of building constructing work.

The value of executed works shall be brought to current costing level by enhancing the actual value of work at simple rate of 7% per annum; calculated from the date of completion to last date of receipt of tenders.

- Agreement shall be drawn with the successful bidders on prescribed Form No. CPWD 8 which is available as a Govt. of India Publication and also available on website www.cpwd.gov.in. Bidders shall quote his rates as per various terms and conditions of the said form which will form part of the agreement.

- The time allowed for carrying out the work will be 01 (One) month from the date of start as defined in schedule ‘F’ or from the first date of handing over of the site, whichever is later, in accordance with the phasing, if any, indicated in the bid documents.

- The site for the work is available.  The architectural and structural drawings shall be made available as per requirement of the same as per approved programme of completion submitted by the contractor after award of the work.

5	The tender document consisting of plans if any, specifications, the schedule of
	quantities of various types of items to be executed and the set of terms and
	conditions of the contract to be complied with and other necessary documents except 	Standard General Conditions Of Contract Form can be seen from website 	www.aiimsrishikesh.edu.in or https://eprocure.gov.in .

The bid submitted shall be opened on 25-02-2021 at 03:00 PM

6. The contractor whose bid is accepted will be required to furnish performance guarantee of 3% (Three Percent) of the estimated amount within the period specified in Schedule F. This guarantee shall be in the form of cash (in case guarantee amount is less than Rs. 10000/-) or Deposit at Call receipt of any scheduled bank/Banker’s cheque of any scheduled bank/Demand Draft of any scheduled bank/Pay order of any Scheduled Bank (in case guarantee amount is less than Rs. 1, 00,000/-) or Government Securities or Fixed Deposit Receipts or Guarantee Bonds of any Scheduled Bank or the State Bank of India in accordance with the prescribed form. In case the contractor fails to deposit the said performance guarantee within the period as indicated in Schedule ‘F’ including the extended period.

7.    	Intending Bidders are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their bid. A bidders shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charge consequent on any misunderstanding or otherwise shall be allowed. The bidders shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract documents. Submission of a bid by a bidder implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and local conditions and other factors having a bearing on the execution of the work.

8.	The competent authority does not bind itself to accept the lowest or any other bid and reserves to itself the authority to reject any or all the bids received without the assignment of any reason.  All bids in which any of the prescribed condition is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer shall be summarily rejected.

9.	Canvassing whether directly or indirectly, in connection with bidders is strictly prohibited and the      	tenders submitted by the contractors who resort to canvassing will be liable to rejection.

10.	The competent authority reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

11.   The contractor shall not be permitted to tender for works in AIIMS Rishikesh in which his near    relative is posted as Divisional Accountant or as an officer in any capacity between the grades of Executive Engineer and Junior Engineer (both inclusive). He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives to any gazetted officer in AIIMS Rishikesh. Any breach of this condition by the contractor would render him liable to reject his Bid submitted by him.

12.  	This notice inviting Bid shall form a part of the contract document. The successful bidders /contractor, on acceptance of his tender by the Accepting Authority shall within 15 days from the stipulated date of start of the work, sign the contract consisting of: -

a)  The Notice Inviting Bid, all the documents including additional conditions, specifications and drawings, if any, forming part of the tender as uploaded at the time of invitation of tender.

b)   Standard C.P.W.D. Form 8 or other Standard C.P.W.D. Form as  applicable .

Payment terms

- Due to scarcity of funds payment may be get delayed. Contractor shall not claim anything because of delayed payments.

INTEGRITY PACT

To,

Sub: 25/SE/Civil/2020-21: - Construction of working counter for Account Section at AIIMS Rishikesh

Dear Sir,

It is   here by declared that AIIMS Rishikesh is committed to follow the principle of transparency, equity and competitiveness in public procurement.

The subject Notice Inviting Tender (NIT) is an invitation to offer made on the condition that the Bidder will sign the integrity Agreement, which is an integral part of tender / bid documents, failing which the tenderer / bidder will stand disqualified from the tendering process and the bid of the bidder would be summarily rejected.

This declaration shall form part and parcel of the Integrity Agreement and signing of the same shall be deemed as acceptance and signing of the Integrity Agreement on behalf of the AIIMS Rishikesh.

Yours faithfully,

Executive Engineer

AIIMS Rishikesh

To,

The Executive Engineer,

AIIMS Rishikesh,

Sub:	Submission of Tender for the work of Construction of working counter for Account Section at AIIMS Rishikesh

Dear Sir,

I / We acknowledge that AIIMS Rishikesh is committed to follow the principles thereof as enumerated in the Integrity Agreement enclosed with the tender/bid document.

I / We agree that the Notice Inviting Tender (NIT) is an invitation to offer made on the condition that I/We will sign the enclosed integrity Agreement, which is an integral part of tender documents, failing which I/We will stand disqualified from the tendering process. I/We acknowledge that THE MAKING OF THE BID SHALL BE REGARDED AS AN UNCONDITIONAL AND ABSOLUTE ACCEPTANCE of this condition of the NIT.

I/We confirm acceptance and compliance with the Integrity Agreement in letter and spirit and further agree that execution of the said Integrity Agreement shall be separate and distinct from the main contract, which will come into existence when tender/bid is finally accepted by AIIMS Rishikesh. I/We acknowledge and accept the duration of the Integrity Agreement, which shall be in   the   line   with   Article   1   of   the   enclosed Integrity Agreement.

I/We acknowledge that in the event of my/our failure to sign and accept the Integrity Agreement, while submitting the tender/bid, AIIMS Rishikesh shall have unqualified, absolute and unfettered right to disqualify the tenderer/bidder and reject the tender/bid is accordance with terms and conditions of the tender/bid.

Yours faithfully

(Duly authorized signatory of the Bidder)

To be signed by the bidder and same signatory competent / authorised to

sign the relevant contract on behalf of  Director AIIMS Rishikesh.

INTEGRITY AGREEMENT

This Integrity Agreement is made at	 on this	day of.	20

BETWEEN

AIIMS Rishikesh represented through Director……………………………………………….

(Name of Division)

AIIMS Rishikesh	, (Hereinafter referred as the

(Address of Division)

'Principal / Owner', which expression shall unless repugnant to the meaning or context hereof include its successors and permitted assigns)

AND

(Name and Address of the Individual/firm/Company)

Through	(hereinafter referred to as the

(Details of duly authorized signatory)

“Bidder/Contractor” and which expression shall unless repugnant to the meaning or context hereof include its successors and permitted assigns)

Preamble

WHEREAS the Principal /Owner has floated   the Tender (NIT No.

) (hereinafter referred to as “Tender/Bid”) and intends to award, under laid     down organizational procedure, contract for

(Name of work)

Hereinafter referred to as the “Contract”.

AND WHEREAS the Principal / Owner values full compliance with all relevant laws of the land, rules, regulations, economic use of resources and of fairness/transparency in its relation with its Bidder(s) and Contractor(s).

AND WHEREAS to meet the purpose aforesaid both the parties have agreed to enter into this Integrity Agreement (hereinafter referred to as “Integrity Pact” or “Pact”), the terms and conditions of which shall also be read as integral part and parcel of the Tender/Bid documents and Contract between the parties.

NOW, THEREFORE, in consideration of mutual covenants contained in this Pact, the parties hereby agree as follows and this Pact witnesses as under:

Article 1: Commitment of the Principal / Owner

1)	The Principal/Owner commits itself to take all measures necessary to
prevent corruption and to observe the following principles:

- No employee of the Principal/Owner, personally or through any of his/her family members, will in connection with the Tender, or the execution of the Contract, demand, take a promise for or accept, for self or third person, any material or immaterial benefit which the person is not legally entitled to.

- The Principal/Owner will, during the Tender process, treat all Bidder(s) with equity and reason. The Principal/Owner will, in particular, before and during the Tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential / additional information through which the Bidder(s) could obtain an advantage in relation to the Tender process or the Contract execution.

- The Principal / Owner shall endeavor to exclude from the Tender process any person, whose conduct in the past has been of biased nature.

2)	If the Principal/Owner obtains information on the conduct of any of its employees which is a criminal offence under the Indian Penal code (IPC) / Prevention of Corruption Act, 1988 (PC Act) or is in violation of the principles herein mentioned or if there be a substantive suspicion in this regard, the Principal / Owner will
inform the Chief Vigilance Officer and in addition can also initiate disciplinary actions as per its internal laid down policies and procedures.

Article 2: Commitment of the Bidder (s) / Contractor (s)

1)	It is required   that   each   Bidder / Contractor (including their respective officers, 	employees and agents) adhere to the highest ethical standards, and report to the 	Government / Department all suspected acts of fraud or corruption or Coercion or Collusion of which it has knowledge or becomes aware, during the tendering 	process and 	throughout the negotiation or award of a contract.

2)	The   Bidder(s) /   Contractor(s) commit   himself   to   take   all   measures necessary to prevent corruption. He commits himself to observe the following principles during his participation in the Tender process and during the Contract execution:

- The Bidder(s) / Contractor(s) will not, directly or through any other person or firm, offer, promise or give to any of the Principal / Owner's employees involved in the Tender process or execution of the Contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange any advantage of any kind whatsoever during the Tender process or during the execution    of    the Contract.

- The Bidder(s) / Contractor (s) will not enter with other Bidder (s) into any undisclosed agreement or understanding, whether formal or informal. This applies	in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or any other actions to restrict competitiveness or to cartelize in the bidding process.

- The Bidder(s) / Contractor(s) will not commit any offence under the relevant IPC/PC Act. Further the Bidder(s) / Contract(s) will not use improperly, (for the purpose of competition or personal gain), or pass on to others, any information or documents provided by the Principal/Owner as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.

- The Bidder(s)/ Contractor(s) of foreign origin shall disclose the names and addresses of agents / representatives in India, if any. Similarly, Bidder(s)/Contractor(s) of Indian Nationality shall disclose names and addresses of foreign agents/representatives, if any. Either the Indian agent on behalf of the foreign principal or the foreign principal directly could bid in a tender but not both. Further, in cases where an agent participates in a tender on behalf of one manufacturer, he shall not be allowed to quote on behalf of another manufacturer along with the first manufacturer in a subsequent/parallel tender for the same item.

d) The Bidder(s)/ Contractor(s) will, when presenting his bid, disclose (with each tender as per performa enclosed) any and all payments he has made, is committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the Contract

3)	The    Bidder(s) /    Contractor(s) will    not    instigate    third    persons    to commit offences 	outlined above or be an accessory to such offences.

4)	The Bidder(s) / Contractor(s) will not, directly or through any other person or firm indulge in fraudulent practice means a willful misrepresentation or omission of facts or submission of fake / forged documents in order to induce public official to act in reliance thereof, with the 	purpose of obtaining unjust advantage by or causing damage to justified interest of 	others and/or to influence the procurement process to the detriment of the Government interests.

5)	The Bidder(s) / Contractor(s) will   not, directly   or through   any   other person or firm use 	Coercive Practices (means the act of obtaining something, compelling an action or 	influencing a decision through intimidation, threat or the use of force directly or indirectly, 	where potential or actual injury may befall upon a person, his / her reputation or property to 	influence their participation in the tendering process).

Article 3: Consequences of Breach

Without prejudice to any rights that may be available to the Principal/Owner under law or the Contract or its established policies and laid down procedures, the Principal / Owner shall have the following rights in case of breach of this Integrity Pact by the Bidder(s)/Contractor(s) and the Bidder / Contractor accepts and undertakes to respect and uphold the Principal / Owner's absolute right:

1)              If the Bidder (s) / Contractor(s), either before award or during execution of 	Contract has committed a transgression through a violation of Article 2 above or 	in any other form,  such as to put his reliability or credibility in question, the Principal/Owner after giving 14 days’ notice to the contractor shall have powers to disqualify the Bidder(s)/Contractor(s) from the tender  process or terminate/determine the Contract, if already executed or exclude the Bidder/Contractor from future contract award processes. The imposition and duration of the exclusion will be determined by the severity of transgression and determined by the Principal / Owner. Such exclusion may be forever or for a limited period as decided by the Principal/Owner.

2)    Forfeiture   of   EMD / Performance   Guarantee / Security   Deposit:

If the Principal/Owner has disqualified the Bidder(s) from the Tender process prior to the award of the Contract or terminated/determined the Contract or has accrued the right to terminate/determine the Contract according to Article 3(1), the Principal/Owner apart from exercising any legal rights that may have accrued to the Principal/Owner, may in its considered opinion forfeit the entire amount of Earnest Money Deposit, Performance Guarantee and Security Deposit of the Bidder / Contractor.

3)  Criminal Liability:

If the Principal/Owner obtains knowledge of conduct of a Bidder or Contractor, or of an employee or a representative or an associate of a Bidder or Contractor which constitutes corruption within the meaning of Indian Penal code (IPC)/Prevention of Corruption Act, or if the Principal/Owner has substantive suspicion in this regard, the Principal/Owner will inform the same to law enforcing agencies for further investigation.

Article 4: Previous Transgression

- The Bidder declares that no previous transgressions occurred in the last 5 years with any other Company in any country confirming to the anticorruption approach or with Central Government or State Government or any other Central/State Public Sector Enterprises in India that could justify his exclusion from the Tender process.

- If the Bidder makes incorrect statement on this subject, he can be disqualified from the Tender process or action can be taken for banning of business dealings/ holding listing of the Bidder/Contractor as deemed fit by the Principal/ Owner.

- If the Bidder/Contractor can prove that he has resorted / recouped the damage caused by him and has installed a suitable corruption prevention system, the Principal/Owner may, at its own discretion, revoke the exclusion prematurely.

Article 5: Equal Treatment of all Bidders/Contractors/Subcontractors

1)	The      Bidder(s) / Contractor(s)   undertake(s) to demand from all subcontractors a 	commitment 	in conformity with this Integrity Pact. The Bidder / Contractor shall 	be responsible for any 	violation(s) of the principles laid down in this 	agreement/Pact by any of its Sub- 	contractors/sub-vendors.

- The Principal / Owner will enter into Pacts on identical terms as this one with all Bidders and Contractors.

- The Principal / Owner will disqualify Bidders, who do not submit, the duly signed Pact between the Principal/Owner and the bidder, along with the Tender or violate its provisions at any stage of the Tender process, from the Tender process.

Article 6- Duration of the Pact

This Pact begins when both the parties have legally signed it. It expires for the Contractor / Vendor 12 months after the completion of work under the contract or till the continuation of defect liability period, whichever is more and for all other bidders, till the Contract has been awarded.

If any claim is made/lodged during the time, the same shall be binding and continue to be valid despite the lapse of this Pacts as specified above, unless it is discharged/determined by the Competent Authority, Director, AIIMS Rishikesh.

Article 7- Other Provisions

- This Pact is subject to Indian Law, place of performance and jurisdiction is the Headquarters of the Division of the Principal / Owner, who has floated the Tender.

- Changes      and     supplements     need     to     be     made      in     writing.     Side agreements have not been made.

- If the Contractor is a partnership or a consortium, this Pact must be signed by all the partners or by one or more partner holding power of attorney signed by all partners and consortium members. In case of a Company, the Pact must be signed by a representative duly authorized by board resolution.

- Should one or several provisions of this Pact turn out to be invalid; the remainder of this Pact remains valid. In this case, the parties will strive to come to an agreement to their original intentions.

- It  is  agreed  term and  condition  that  any dispute  or difference  arising between    the     parties     with     regard    to     the     terms     of     this     Integrity Agreement     /     Pact,    any    action     taken    by    the     Owner/Principal    in accordance  with this Integrity  Agreement/ Pact or interpretation there of shall not be subject to arbitration.

Article 8- LEGAL AND PRIOR RIGHTS

All rights and remedies of the parties hereto shall be in addition to all the other legal rights and remedies belonging to such parties under the Contract and/or law and the same shall be deemed to be cumulative and not alternative to such legal rights and remedies aforesaid. For the sake of brevity, both the Parties agree that this Integrity Pact will have precedence over the Tender / Contract documents with regard any of the provisions covered under this Integrity Pact.

IN WITNESS WHEREOF the parties have signed and executed this Integrity Pact at the place and date first above mentioned in the presence of following witnesses:

(For and on behalf of Principal/Owner)

(For and on behalf of Bidder/Contractor)

WITNESSES:

- . 	 (Signature, name and address)

- . 	 (Signature, name and address)

Place: -

Dated: -

fufonk T E N D E R

I/We have read and examined the notice inviting tender, schedule, A, B, C, D, E & F, specifications applicable, Drawings & Designs, General Rules and Directions, Conditions of Contract, clauses of contract, Special conditions, Schedule of Rate & other documents and Rules referred to in the conditions of contract and all other contents in the tender document for the work.

I/We hereby tender for the execution of the work specified within the time specified in Schedule ’F’, viz., schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and Directions and in Clause 11 of the Conditions of contract and with such materials as are provided for, by, and in respects in accordance with, such conditions so far as applicable.

We agree to keep the tender open for Ninety (90) days from the due date of opening of financial bid and not to make any modification in its terms and conditions.

I/We undertake and confirm that eligible similar work(s) has / have not been got executed through another contractor on back to back basis. Further that, if such a violation comes to the notice of AIIMS Rishikesh, then I/We shall be debarred for tendering in AIIMS Rishikesh in future forever. Also, if such a violation comes to the notice of Department before date of start of work, The Engineer – in – Charge shall be free to forfeit the entire amount of Earnest Money Deposit / Performance Guarantee.

eSa@ge ,rr~}kjk ?kks"k.kk djrs gS fd eS@ge fufonk dkxtkrksa] uD’kksa vkSj dk;Z ls lacaf/kr vU; vfHkys[kksa dks xqIr@xksiuh; dkxtkr ds :Ik esa j[ksxs vkSj muls izkIr@yh xbZ tkudkjh fdlh vU; dks] ftUgsa eSa@ge lwfpr djus ds fy, izkf/kd`r gks] ls fHkUu fdlh dks]ugha crk,xsa ;k tkudkjh dks fdlh ,sls :i esa iz;ksx ugh djsaxs tks jkT; dh lqj{kk ds fy, izfrdwy gksA

I/We hereby declare that I/we shall treat the tender documents drawings and other records connected with the work as secret/confidential documents and shall not communicate information/derived therefrom to any person other than a person to whom I/We am/are authorised to communicate the same or use the information in any manner prejudicial to the safety of the State.

rkjh[k Dated #.....................					Bsdsnkj ds gLrk{kj Signature of Contractor#								                    Mkd dk irk Postal Address#

lk{kh Witness : #

irk Address: #

mithfodk Occupation: #				# To be filled in by the contractor/witness as applicable

ACCEPTANCE

The above tender (as modified vide letters mentioned hereunder) is accepted by me for and on behalf of the Director, AIIMS Rishikesh for a sum of . ____________

(Rupees_____________________________________________________________)

The letters referred to below shall form part of this contract Agreement: -

a)

b)

c)

For & on behalf of Director, AIIMS Rishikesh

Signature....................................

rkjh[k Dated ....... ...............		 		Designation.........................

vuqlwfp;ka   SCHEDULES

[ FOR MAJOR (CIVIL) COMPONENT ]

vuqlwph ^d* SCHEDULE ‘A’

ek=kvksa dh vuqlwph ¼layXu½

Schedule of quantities (Enclosed)  Page No. -  35 to 35

vuqlwph ^[k* SCHEDULE ‘B’

Bsdsnkj dh fuxZr dh tkus okyh lkefxz;ksa dh vuqlwph

Schedule of materials to be issued to the contractor.

__________________________________________________________________________________

Øe- la-	en fooj.k		ek=k		ftl nj ij  lkefxz;ka Bsdsnkj dks 		fuxZr LFkku

S.No.	Description of item	Quantity	izHkkfjr gksxh og nj vadksa ,oa ’kCnksa esa 		Place of Issue

Rates in figures & words at which the

material will be charged to the contractor

_______________________________________________________________________________________________________

1	       2			    3			    	4			          5

_______________________________________________________________________________________________________

vuqlwph ^x* SCHEDULE ‘C’

Bsdsnkj dks HkkM+s ij fn, tkus okys vkStkj ,oa la;=

Tools and plants to be hired to the contractor

__________________________________________________________________________________

Øe la- 		fooj.k				HkkM+k izHkkj izfrfnu				fuxZr LFkku

Sl. No.		Description			Hire charges per day			Place of Issue

__________________________________________________________________________________

1		      2					3					4

__________________________________________________________________________________

NIL

vuqlwph ‘^?k* SCHEDULE ‘D’

dk;Z ds fy, fo’ks"k vis{kk,a@nLrkost] ;fn dksbZ gksa] dh vfrfjDr vuqlwph

Extra schedule for specific requirements/documents for the work, if any.	       -----Nil-----

vuqlwph ¼M½ SCHEDULE ‘E’

Bsds dh lkekU; ’krksZ dk lanHkZ				General conditions of contract for CPWD works

- Reference to General Conditions of contract		2014 as amended upto date.

Name of work Construction of working counter for Account Section at AIIMS Rishikesh

dk;Z dh vuqqekfur ykxr Estimated cost of work                            :2,96,730.00

(i) /kjksgj jkf’k Earnest money                                             :Nil

(ii)fu"iknu xkjaVh  Performance guarantee :	3% of Estimated value. fufofnr ewY; dk 3 izfr’kr

(iii) izfrHkwfr fu{ksi% Security Deposit:  	5% of tendered value (It may be modified as per instruction by EE, Civil)

vuqlwph ^p* SCHEDULE ‘F’

lkekU; fu;e ,oa fn’kkfunsZ’k%

General Rules & Directions:

fufonk vkea=.k djus okyk izkf/kdkjh

Officer inviting tender -            			              Director, AIIMS Rishikesh

dk;Z dh enksZ dh ek=k ds fy, vf/kdre izfr’kr ftlls vf/kd

fu"ikfnr enksa ds fy, njksa dk fu/kkZj.k [k.M 12-2 vkSj 12-3 ds		fuEukuqlkj

vuqlkj gksxk

Maximum percentage for quantity of items of

work to be executed beyond which rates are to

be determined in accordance with Clauses		see below

12.2 & 12.3.

Definitions:

2(v) 	Hkkjlk/kd bathfu;j

Engineer-in-Charge	                                                     SE, AIIMS Rishikesh

2(viii)	Lohdkj drkZ izkf/kdkjh

Accepting Authority					 EE, AIIMS Rishikesh

2(x)	vfrfjDr vkSj ykHkksa dks iwjk djus ds

fy, Je ,oa lkefxz;ksa dh ykxr ij izfr’krrk

Percentage on cost of materials and

labour to cover all overheads and profits.		15% (Fifteen per cent)

2(xi)	njksa dh ekud vuqlwph

Standard schedule of Rates for Civil: -                              Delhi Schedule of rate 2018(Civil)/Market Rate

Issued upto date of receipt of tender.

2(xii)	foHkkx

Department	AIIMS Rishikesh

9(ii)    ekud ds-yks-fu-fo- Bsdk QkeZ 				              CPWD form 8 (Print edition -2016) as modified

Standard CPWD contract Form    		              with up to date correction slip.

[k.M Clause 1

- Lohd`fr i= tkjh gksus dh rkjh[k ls fu"iknu

xkjaVh ds izLrqrhdj.k ds fy, vuqer le;

Time allowed for submission of performance guarantee from the date of issue of letter of   acceptance					:  07 days

- ¼mi;qZDr i½ esa nh xbZ vof/k ds Ik’pkr~ vf/kdre

vuqes; ,DlVsa’ku

Maximum allowable extension with late

fee @ 0.10% per day of performance

guarantee amount beyond

the period as provided in (i) above 		:  1 to 07  days

[k.M Clause 2

[k.M 2 ds rgr izfrdkj fuf’pr	djus okyk izkf/kdkjh

Authority for fixing			                SE, AIIMS Rishikesh

compensation under clause 2

[k.M Clause 2A

D;k [k.M 2 d ykxw gksxk

Whether  clause 2A  shall be applicable		   Yes

[k.M Clause 5

dk;Z vkjaHk dh rkjh[k dh x.kuk ds fy, Lohd`fr i= ds tkjh gksus dh

rkjh[k ls fnuksa dh la[;k

No. of days from the date of issue of letter of

acceptance for reckoning date of start 		    07 days.

y{;             uhps nh xbZ lkj.kh ds vuqlkj

Milestone(s): - 						    NA

dk;Z fu"ikfnr djus ds fy, vuqeR; le;

Time allowed for execution of work 		01 (One) month

Authority to decide

(i) Extension of Time				EE, AIIMS Rishikesh

(ii) Rescheduling of mile stones			EE, AIIMS Rishikesh.

(iii) Shifting of date of start in case of 		                                EE, AIIMS Rishikesh

delay in handing over of site

[k.M Clause 6, 6A

[kaM ykxw&¼6 ;k 6 d½   Clause applicable		      6 A

[k.M Clause 7

varfje Hkqxrku ds fy, ik= gksus ds fy, vafre ,sls

Hkqxrku ds ckn dqy Hkqxrku ,df=r lkefxz;ksa ds

vfxzeksa ds lek;kstu lfgr fd;k tkus okyk dqy dk;Z

Gross work to be done together with net

payment/adjustment of advances for	  	       Rs.1.0 Lakhs

material collected, if any since the last

such payment for being eligible to interim

payment

.

[k.M 10 d Clause10A

dk;ZLFky iz;ksx’kkyk esa Bsdsnkj }kjk miyC/k djk;s tkus

ijh{k.k midj.k dh lwph

List of testing equipment to be provided by the           N.A.

contractor at site lab.

[k.M Clause10B(ii)

D;k [k.M 10 [k (ii) ykxw gksxk

Whether clause 10B (ii) shall be applicable 	       NA

[k.MClause10C

Component of labour expressed as	       NA

Percent of value of work

[k.M Clause 10CC  - NOT APPLICABLE.

[k.M 10 xx mu lafonkvksa ij ykxw gksxk ftlesa dk;Z

lekiu dh vof/k] vxys dkye esa n’kkZbZ xbZ vof/k ls

vf/kd vuqcaf/kr gSA

DELETED

Clause 10CC to be applicable in contracts

with sipulated period of compensation

exceeding the period shown in next column	:   ............ Months

[k.M Clause10d                                                                                       Yes

[k.M Clause 11

dk;Z fu"iknu ds fy, vuqikyu			             For Civil : CPWD specification 2019, Volume-I & II

Specifications to be followed for execution of work 	with correction slips upto date of receipt of tender.

[k.M Clause 12

Type of Work 					New Work

12.2 & 12.3

fopyu lhek ftlds ijs [k.M 12-2 rFkk 12-3 Hkou fuekZ.k

dk;Z ds fy, ykxw gksaxs

Deviation limit beyond which clauses 12.2 & 12.3		30%

shall apply for building work (Other than foundation)

  - (i)  Deviation limit beyond which clauses  12.2 & 12.3

shall apply for foundation work (except earth work) 	30%

(ii) Deviation limit for items in earth work subhead of

DSR or related items				100%

[k.M Clause 16

?kVh gqbZ njs fu/kkZfjr djus dh fy, l{ke izkf/kdkjh                   SE, AIIMS Rishikesh

Competent Authority for deciding reduced rates 					.

[k.M Clause 18

dk;ZLFky ij Bsdsnkj }kjk yxk;s tkus okyh vfuok;Z

e’khujh vkStkj ,oa l;a=ksa dh lwph %&

List of mandatory machines, tools and 		N.A.

plants to be deployed by the contractor at site.

[k.M Clause 31

Whether clause 31 shall be applicable		Yes

[k.M Clause 42

I) d½	lhesUV vkSj fcVqeu dh vuqekuewy

ek=k fu/kkZfjr djus ds fy, vuqlwph@fooj.k 			dsyksfufo }kjk eqfnzr fnYyh nj vuqlwph 2012

ds vk/kkj ij

I) (a)	Schedule/statement for determining 			on the basis of Delhi Schedule of Rates

theoretical quantity of cement &				2018 printed by C.P.W.D. with correction slips

bitumen 						issued up to date of receipt of tender.

II)	vuqekuewyd ek=kvksa esa vuqeR; fopyu

Variations permissible on theoretical quantities.		Yes

d½	lhesUV ftu dk;ksZ ds fy, fufonk easa vuqekfur

ewY; :- 5 yk[k ls vf/kd u gks

a)	Cement for works with estimated cost put		Not Applicable

to tender not more than Rs. 5 lakhs

ftu dk;ksZ ds fy, fufonkesa vuqekfur			2 izfr’kr tek@?kVk

ewY; :- 5 yk[k ls vf/kd gks

for works with estimated cost put to 			2 % plus/minus.

tender more than Rs. 5 lakhs

[-k½	fcVqeu lHkh dk;ksZ ds fy,					2-5 izfr’kr dsoy tek vkSj ?kVk ds i{k esa ’kwU;

b)	Bitumen for all works					2.5% plus only & Nil on minus side.

x½	bLikr izR;sd O;kl] dksV vkSj Js.kh ds fy,

iwuoZyu vkSj lajpukRed bLikr dkV			2 izfr’kr tek@?kVk

c)	Steel Reinforcement and structural steel

sections for each diameter, section and 			2% plus/minus

category.

?k½	lHkh vU; lkefxz;ka					’kwU;

d)	All other materials					Nil.

vuqeR; fopyu ls vf/kd dh ek=kvksa ds fy, olwyh nj

### RECOVERY RATES FOR QUANTITIES BEYOND PERMISSIBLE VARIATION

__________________________________________________________________________________

Øe 	en fooj.k						vadks vkSj ’kCnksa esa og nj ftl ij Bsdsnkj ls

la-								olwyh dh tk,xh

Sl	Description of item					Rates in figures and words at which

No.						recovery shall be made from the

Contractor

______________________________

vuqeR; fopyu ls 		veqeR; fopyu ls

vf/kd vkf/kD;		vf/kd mi;ksx ?kVk;k

Excess beyond		Less use beyond

permissible variation	the permissible variation

__________________________________________________________________________________

1.	lhesUV Cement 					N.A.			     Rs. 6210/-  Per MT

2.	bZLikr  Steel Reinforcement 			N.A.			     Rs. 53099/- Per M.T.

FORM   OF   EARNEST   MONEY   (BANK   GUARANTEE)

WHEREAS, contractor 	…………… (Name of contractor) (Hereinafter called "the contractor") has submitted his tender dated 	 (date) for the construction of 	 (name of work) (hereinafter called "the Tender")

KNOW ALL PEOPLE by these presents that we 	 (name of bank) having our registered office at 	 (hereinafter called "the Bank") are bound unto 	 (Name and division of Executive Engineer) (hereinafter called "the Engineer-in-Charge") in the sum of Rs. 	  (Rs. in words 	 ) for which payment well and truly to be made to the said Engineer-in-Charge the Bank binds itself, his successors and assigns by these presents.

SEALED with the Common Seal of the said Bank this 	 day of 	20... .

THE CONDITIONS of this obligation are:

- If after tender opening the Contractor withdraws, his tender during the period of validity of tender (including extended validity of tender) specified in the Form of Tender;

- If the contractor having been notified of the acceptance of his tender by the Engineer-in-Charge:

(a)	fails or refuses to execute the Form of Agreement in accordance with the
Instructions to contractor, if required; OR

(b)	fails or refuses to furnish the Performance Guarantee, in accordance with
the provisions of tender document and Instructions to contractor, OR

- fails or refuses to start the work, in accordance with the provisions of the contract and Instructions to contractor, OR

- fails or refuses to submit fresh Bank Guarantee of an equal amount of this Bank Guarantee, against Security Deposit after award of contract.

We undertake to pay to the Engineer-in-Charge either up to the above amount or part thereof upon receipt of first written demand, without the Engineer-in-Charge having to substantiates his demand, provided that in his demand the Engineer-in-Charge will note that the amount claimed by him is due to him owing to the occurrence of one or any of the above conditions, specifying the occurred condition or conditions.

This Guarantee will remain in force up to and including the date.*  after the deadline for submission of tender as such deadline is stated in the Instructions to contractor or as it may be extended by the Engineer-in-Charge, notice of which extension(s) to the Bank is hereby waived. Any demand in respect of this Guarantee should reach the Bank not later than the above date.

DATE 								SIGNATURE OF THE BANK

WITNESS 								SEAL

(SIGNATURE, NAME AND ADDRESS)

*Date to be worked out on the basis of validity period of 6 months from last date of receipt of tender.

P A R T I C U L A R     S P E C I  F I C A T I O N S

&

# S P E C I A L    C O N D I T I O N S

1.  	GENERAL

1.1	Wherever any reference to any Indian Standard Specifications of BIS occurs in the documents relating to this contract, the same shall be inclusive of all amendments issued there-to or revisions thereof, if any, up to the date of receipt of tenders.

1.2	The contractor shall work according to the programme of work as approved  by the Engineer-in-charge, for which purpose, the contractor shall submit a programme of the work within 15 days from the stipulated date of start of the work.

1.3    The contractor shall take instructions from the Engineer-in-charge for stacking of materials at site. No excavated earth or building materials shall be stacked on areas where the buildings, roads, services or compound walls are to be constructed.

1.5	Unless otherwise provided in the Schedule of quantities, the rates tendered by the contractor shall be all inclusive and shall apply to all heights, lifts, leads and depths of the building and nothing shall be payable to him on this account.

1.6      	The working drawings appearing at para 8.1(iii) of conditions of contract in the form CPWD-8, shall mean to include both architectural and structural drawings respectively. The structural and architectural drawings shall be properly correlated before executing the work. In case of any difference noticed between architectural and structural drawings, final decision, in writing of the Engineer-in-charge shall be obtained by the contractor before proceeding further.

1.7	Some restrictions may be imposed by the security staff etc. on the working and for movement of labour, materials etc. The contractor shall be bound to follow all such restriction / instructions including issue of identity cards to all persons authorized by him to do work / visit the work site and nothing shall be payable on this account.

1.8	The contractor shall make his own arrangements for obtaining electric connections, if required, and make necessary payments directly to the department concerned.

1.9	The contractor shall conduct his work, so as not to interfere  with or hinder the progress or completion of the work being  performed by other contractor (s)  or  by the Engineer-in-Charge and shall as far as possible  arrange his work and shall place and dispose off the materials  being  used or removed, so as  not to  interfere with the  operations  of other contractors, or he shall arrange his work with that of the others in an acceptable and coordinated  manner and shall  perform it in proper sequence  to the complete  satisfaction of  Engineer-in-Charge. The contractor shall be responsible for any damage due to hindrance caused by him.

1.10      All the material related to the work execution shall be approved by Engineer-In-charge.

1.11	Any cement slurry added over base surface for bond or for continuation of concreting,  for protecting reinforcement bars, its cost shall be deemed to have been included in the respective items, unless specified otherwise and nothing extra shall be payable nor extra cement shall be considered in the cement consumption on this account.

1.12	Stacking of materials and excavated earth including its disposal shall be done as per the directions of the Engineer-in-Charge. Double handling of materials or excavated earth if required at any stage shall have to be done by the contractor at his own cost.

1.13	No claim for idle establishment & labour, machinery & equipments, tools & plants and the like, for any reason whatsoever, shall be admissible during the execution of work as well as after its completion.

1.14	Only Stainless Steel screws shall be used unless otherwise specified.

1.15	Work shall be carried out in professional manner with finished product serving the intended purpose with specified strength, durability and aesthetics.

1.16	Work activities shall be executed in well thought out sequences such that consequent activities not adversely affecting previously done work. Nothing extra shall be payable to protect the works already done.

1.17	The contractor shall prepare all the needed shop drawings well in advance and get them approved before placing the order and execution of the item.

1.18	Contractor shall submit GST bill of all purchased material which is to be consumed during execution of work.

1.19    Contractor shall be able to claim bill only after issuing site clearance certificate from Junior Engineer & Assistant Engineer.

2.0    CONDITION FOR CEMENT :-

2.1 	The Contractor shall procure 43 grade Ordinary Portland cement (conforming to IS : 8112)  or Portland slag cement (conforming to IS : 455) or Portland Pozzolana Cement (PPC) (Fly ash based) – conforming to IS : 1489 (Part-I) as required in the work, from reputed manufactures of cement such as ACC, Ultratech, Vikram, Shree Cement, Ambuja, Jaypee Cement, Century Cement & J.K. Cement or from any other reputed cement Manufacturer having a production capacity not less than one million tonnes per annum as approved by ADG for that sub region.

The tenderers may also submit a list of names of cement manufacturers which they propose to use in the work. The tender accepting authority reserves right to accept or reject name(s) of cement manufacture(s) which the contractor proposes to use in the work. No change in the tendered rates will be accepted if the tender accepting authority does not accept the list of cement manufactures, given by the tenderer, fully or partially.

Supply of cement shall be taken in 50 Kg bags bearing manufacture’s name, batch No. & ISI marking. Samples of cement arranged by the contractor shall be taken by the Engineer-in-charge and got issue in accordance with provisions of relevant BIS codes. In case test results indicate that the cement arranged by the Contractor does not conform to the relevant BIS codes, the same shall stand rejected and shall be removed from the site by the Contractor at his own cost within a week’s time of written order from the Engineer-in-charge to do so.

If Portland Pozzolana cement or Portland slag cement is used, suitable modification in deshuttering time etc. shall be done if need be as per specifications and standards and as directed by Engineer – in – charge and nothing extra shall be payable on this account.

No extra payment / deduction shall be made from the payment to the contractor for using any of the above type of cement.

2.2	The cement shall be brought at site in bulk supply of approximately 50 tonnes or as decided by the Engineer - in - charge.

2.3	For each grade / type, cement bags shall be stored in two separate godowns, one for tested cement and the   other for fresh cement (under testing) constructed by the contractor at site of work as per sketch shown in General conditions of contract for CPWD works 2010 with weather proof roofs and walls, for which no extra payment shall be made.  The size of the cement godown is indicated in the sketch for guidance only.  The actual size of godown shall be as per site requirements and as per the direction of the Engineer in charge and nothing extra shall be paid for the same. The decision of the Engineer-in-charge regarding the capacity required/needed will be final.  However, the capacity of each godown shall not be less than 100 tonnes. Each godown shall be provided with a single door with two locks. The keys of one lock shall remain with CPWD Engineer-in-charge or his authorized representative and that of other lock with the contractor at the site of work so that the cement is issued from godown according to the daily requirement with the knowledge of both the parties. The account of daily receipt and issue of cement shall be maintained in a register in the prescribed Proforma and signed daily by the contractor or his authorized agent in token of its correctness.

2.4	 The cement shall be got tested by Engineer –in –charge and shall be used on the work only after satisfactory test results have been received. The contractor shall supply free of charge the cement required for testing including its transportation cost to testing laboratories. The cost of tests shall be borne by the contractor / Department in the manner indicated below :-

(a) By the contractor, if the results show that the cement does not conform to relevant BIS 	 codes.

(b)  By the Department, if the results show that the cement conforms to relevant BIS codes.

2.4.1  All other charges of sampling, packing and transportation of sample shall also be borne by the contractors.

2.5 	The actual issue and consumption of cement on work shall be regulated and proper accounts maintained separately for each type of cement, as provided in clause 10 of the contract. The theoretical consumption of cement shall be worked out as per procedure prescribed in Clause 42 of the contract and shall be governed by conditions laid therein. However, for consumption lesser beyond permissible theoretical variation recovery shall be made in accordance with conditions of contract at Schedule A to F (CPWD-8), without prejudice to action for acceptance of work/item at reduced rate or rejection as the case may be. In case of excess consumption no adjustment shall be made.

(i) Cement brought to site and cement remaining unused after completion of work shall not be removed from site without return permission of the Engineer-in-charge.

(ii) Damaged cement shall be removed from the site immediately by the contractor on receipt of notice in written. In case if he does not do within three days or receipt of same notice, the Engineer-in-charge shall get removed at the site of the contractor.

2.6	Cement brought to site and cement remaining unused after completion of work shall not be removed from site without written permission of the Engineer-in-charge.

3.0   CONDITIONS FOR REINFORCEMENT STEEL :-

3.1  	The contractor shall procure TMT bars of Fe 415 / Fe 415D / Fe 500/ Fe 500D / Fe 550 / Fe 550D grade from primary producers such as SAIL, Tata Steel Ltd., RINL, Jindal Steel & Power Ltd. and JSW Steel Ltd. or any other producer as approved by CPWD who are using iron ore as the basic raw material / input and having crude steel capacity of 2.0 Million tonnes per annum and above.

In case of non-availability of steel from primary producers, use of TMT reinforcement bars procured from secondary producers will be allowed subject to fulfillment of following conditions:

a. 	The grade of the steel such as  Fe 415 / Fe 415D / Fe 500 / Fe 500D / Fe 550 / Fe 550D or other grade to be procured is to be specified as per BIS : 1786 - 2008.

b.	The secondary producers must have valid BIS licence to produce HSD bars conforming to IS 1786 : 2008. In addition to BIS licence, the secondary producer must have valid licence from either of the firms Tempcore, Thermex, Evcon Turbo & Turbo Quench to produce TMT Bars.

c. 	The TMT bars procured from primary producers and ISPs shall conform to manufacture’s specifications.

d.	The TMT bars procured from secondary producers shall conforms to the specifications as laid down by Tempcore, Thermex, Evcon, Turbo and Turboquench as the case may be.

e.	TMT bars procured either from primary producers or secondary producers, the specifications shall meet the provisions of IS 1786 : 2008 pertaining to Fe 415 / Fe 415D / Fe 500 / Fe 500D / Fe 550 / Fe 550D or other grade of steel as specified in the tender.

3.2	Samples shall also be taken and got tested by the Engineer-in-Charge as per the 	provisions in this regard in relevant BIS codes. In case the test results indicate 	that the steel arranged by the contractor does not conform to the specifications 	as defined under para (c) & (d) above, the same shall stand rejected, and it shall 	be removed from the site of work by the contractor at his cost within a week 	time or written orders from the Engineer-in-Charge to do so.

In case contractor is permitted to use TMT reinforcement bars procured from secondary producers then:

(i) 	The base price of TMT reinforcement bars as stipulated under schedule ‘F’ shall be reduced by Rs. 6700/- MT. However, for operation of provisions of clause 10CA in such case, the indices for TMT reinforcement bars of secondary producers will be considered same as for primary producers.

(ii) 	The rate of providing & laying TMT reinforcement bars as quoted by the contractor in the tender shall also be reduced by Rs. 8.00 per kg.

3.3    The steel reinforcement bars shall be brought at site in bulk supply of 25 tonnes 	or more as decided by the Engineer in charge.

3.4	The steel reinforcement bars shall be stored by the contractor at site of work in 	such a 	way as 	to prevent distortion and corrosion and nothing extra shall be 	paid on this account. Bars of different sizes and lengths shall be stored 	separately to facilitate easy 	counting and 	checking.

3.5	For checking nominal mass tensile strength bend test re-bend test etc. specimen 	of sufficient length shall be cut from each size of the bar at random at frequency 	not less than that specified below:

| Dia of bar | For consignment below 100tones | For consignment above 100tones |
| --- | --- | --- |
| Under 10 mm | One sample for each 25 tonnes or part thereof | One sample for each 40tonnes or part thereof |
| 10 mm to 16mm | One sample for each 35 tonnes or part thereof | One sample for each 45tonnes or part thereof |
| Over 16mm | One sample for each 45 tonnes or part thereof | One sample for each 50tonnes or part thereof |

3.6	The contractor shall supply free of charge the steel required for testing including 	its transportation to testing laboratories. The cost of tests shall be borne by the 	contractor.

3.7	All other charges of sampling, packing and transportation of sample shall also 	be borne by the Contractor.

3.8	The actual issue and consumption of steel on work shall be regulated and proper 	accounts maintained as provided in clause 10 of the contract.  The theoretical 	consumption of steel shall be worked out as per procedure prescribed in clause 	42 of the contract and shall be governed by conditions laid therein. In case the 	consumption is less than theoretical consumption including permissible 	variations, recovery at the rate so prescribed shall be made. In case of excess 	consumption no adjustment need to be made.

3.9	Steel brought to site and remaining unused shall not be removed from site 	without the written permission of Engineer-in-Charge.

3.9(i) Reinforcement including authorized spacer bars and lappages shall be measured 	in length for different diameters as actually (not more than as specified in the 	drawings) used in the work nearest to a centimeter. Wastage and unauthorized 	overlaps shall not be 	measured.

(ii) The standard sectional weights referred to shall be as in Table 5.4 in para 5.3.4 in revised CPWD specifications 2009 Vol. I will be considered for conversion of length of various sizes of TMT bars in to standard weight.

(iii) Record of actual sectional weights shall also be kept dia wise and lot wise. The average sectional weight for each diameter shall be arrived at from samples from each lot of steel received at site. The decision of the Engineer in charge shall be final for the procedure to be followed for determining the average sectional weight of each lot. Quantity of each diameter of steel received at site of work each day will constitute one single lot for the purpose. The weight of steel by conversion of length of various sizes of bars based on the actual weighted average sectional weight shall be termed as Derived Actual Weight.

(a) If the derived weight as in sub-para (iii) above is less than the standard weight  as in sub-para (ii) above, then the Derived Actual Weight shall be taken for payment.

(b) If the derived actual weight is found more than the standard weight, than standard weight as worked out in sub para (ii) above shall be taken for payment. Nothing shall be paid extra for the difference in Derived/ Actual Weight and standard weight.

The contractor have to obtain vouchers and furnish test certificate to the Engineer-in-charge in respect of all the lots of Steel brought by him from approved suppliers at the site of work.

3.10	Every care should be taken to avoid mixing different types of grades of bars in 	the same structural members as main reinforcement to satisfy relevant clause of 	IS: 456.  In case of buildings, wherever the situation necessitates, the change 	over shall be permitted only 	from any one level onwards. In case of 	foundations, all foundation elements (footings and grade beams) shall have the 	same kind of steel.  In the case of columns, all structural elements up to the level 	of change, where the change over is taking place should have the same kind of 	steel as those in columns.

3.11	The reinforcing steel brought to site of work shall be stored on brick / timber 	platform of 30 / 40 - cm height, nothing extra shall be paid on this account.

4.0    SAFETY MEASURES AT CONSTRUCTION SITE

In order to ensure safe construction, following shall be adhered for strict compliance at the site:-

  - The work site shall be properly barricaded.

  - Adequate singnages indicating ‘Work in Progress – Inconvenience caused is Regretted’ or Diversion Signs shall be put on the sites conspicuously visible to the public even during night hours. These are extremely essential where works are carried out at public places in use by the public.

  - The construction malba at site shall be regularly removed on daily basis.

  - All field officials and the workers must be provided with safety helmets, safety shoes and safety belts.

  - Proper MS pipe scaffoldings with work – platforms and easy-access ladders shall be provided at site to avoid accidents.

Necessary First-Aid kit shall be available at the site.

The above provisions shall be followed in addition to the provisions of General Condition of Contract.

5.0	SPECIFICATIONS FOR FLY ASH BRICKS - All fly ash bricks as brought to the site shall conform to the strength & durability parameters as prescribed in the tender and CPWD specifications.

6.0	The contractor shall submit ‘Method Statement’ for the approval soon after the award of work. ‘Method Statement’ is a statement by which the construction procedures for important activities of construction are stated, checked and approved. Method Statement shall have description of the item with elaborate procedures in steps to implement the same. The specification of the materials involved their testing and acceptance criteria, equipments to be used, precautions to be taken, mode of measurements etc.

6.1 	Formwork for exposed concrete surfaces: -

6.1.1	Where it is specifically shown on the drawings to have original fair face finish of concrete surface without any rendering of plastering, formwork shall be carried put 	by using plywood on steel plates of approved quality.

6.1.2	The forms shall be constructed so as to produce a uniform and consistent texture 	and pattern on the face of the concrete. The formwork shall be placed so that all horizontals are constructed of lumber and are not paneled and the formwork joints 	shall be staggered.

6.1.3	To achieve a finish which shall be free of board marks, the formwork shall be faced with plywood or equivalent material in large sheets. The sheets shall be 	arranged in an approved pattern. Whenever possible, joints between sheets shall be 	arranged to coincide with architectural feature, sills, window heads or change in direction of surface. All joints between panels shall be vertical or horizontal unless 	otherwise directed. Suitable joints shall be approved between sheets. The joints shall be arranged and fitted so that no blemish or mark is imparted to the finished surfaces.

6.1.4	Forms for exposed concrete surfaces shall be constructed with grade strips (the underside of which indicate top of pour) at horizontal constructions joints, unless the use of groove strips is specified on the drawings. The reset forms shall be tightened against the concrete so that the forms will not be spread and permit abrupt irregularities or loss of mortar. Supplementary form ties shall be used as necessary to hold the reset forms tight against the concrete.

6.1.5	For fair faced concrete, the position of through bolts will be restricted and 	generally as indicated on the drawings.

6.1.6	Plywood and steel plates used in the formwork for obtaining exposed surfaces shall be got approved from Engineer-in-charge on each use. However, no forms will be allowed for reuse if it is doubtful to produce desired texture of exposed concrete.

6.1.7	Cement of only approved shade shall be used preferably of single lot to achieve integrity of texture.

6.2	Class of Surface Finish: -

6.2.1	     For Beams & Slabs:

The finish shall be uniform, dense and smooth. no grout, no grain pattern, no crazing and no major blemishes shall be permitted. Abrupt irregularities not exceeding 3mm and gradual irregularities less than 5mm in 2m length only shall be permitted.

6.2.2   For Columns/Wall/Fins:

The finish shall be uniform and smooth leveling the surface of the compacted concrete shall be done with a screed board with power floating the surface and over that steel trowelling the surface under firm pressure characteristics of finish shall be brush marks < 3mm gradual irregularities less than 10mm in 2m.

6.3	Tolerance in Finished Concrete: -

The formwork shall be so made as to produce a finished concrete true to shape, lines, level, 	plumb and dimensions as shown in the drawings subject to the following tolerance unless 	otherwise specified in this specification or drawings.

6.4	WALL/COLUMN/FINS:

21.4.1 Variation from the plumb		± 6mm			Upto 3m height

21.4.2 Variation from the plumb of		± 6mm			Upto 6m height

conspicuous liner

21.4.3 Variation in the size of			(+)15mm

wall openings			(-) 6mm

21.4.4 Variation in parapet wall thickness

(a)	Upto 30cm thickness			± 6mm

6.5	SLAB, BEAM & GIRDER FORMS:

21.5.1 Variation from the level or from the specified grid for beam soffit before removal of shores,

(a) In any 3m				± 6mm

(b) In any 6m				± 10mm

All the tolerances mentioned above shall apply to concrete dimensions only, and not to positioning of vertical steel or dowels. The tolerances given above are specified for local aberration in the finished concrete surface and should not be taken as tolerance for the entire structure taken as whole for the setting and alignment of formwork. Any error, within the above tolerance limits, or any other if noticed in any of the structure after part or portion stripping of forms, shall be corrected in the subsequent work to bring back the structure to its true line, level and alignment.

Annexure - I

(SPECIMEN)

(Ref. para 3.3 of Particular Specifications and Special conditions)

GUARANTEE TO BE EXECUTED BY CONTRACTORS FOR REMOVAL OF DEFECT AFTER COMPLETION IN RESPECT OF WATER PROOFING WORKS

The Agreement made this ………….day of ……………two thousand and ……… between …………son of ………….of ………….(hereinafter called the Guarantor of the one part) and the Director, AIIMS Rishikesh (hereinafter called Government of the other part).

WHEREAS this agreement is supplementary to a contract (hereinafter called the Contract) dated ……….. and made between the GUARANTOR of the one part and the Government of the other part, whereby the Contractor, inter alia, undertook to render the buildings and structures in the said contract recited completely water and leak – proof.

AND WHEREAS GUARANTOR agreed to give a guarantee to the effect that the said structures will remain water and leak-proof for ten years from the date of giving of water proofing treatment.

NOW THE GUARANTOR hereby guarantees that water proofing treatment given by him will render the structures completely leak-proof and the minimum life of such water proofing treatment shall be ten years to be reckoned from the date after the maintenance period prescribed in the contract.

Provided that the guarantor will not be responsible for leakage caused by earthquake or structural defects or misuse of roof or alteration and for such purpose;

- Misuse of roof shall mean any operation which will damage water proofing treatment, like chopping of firewood and things of the same nature which might cause damage to the roof;

- Alteration shall mean construction of an additional storey or a part of the roof or construction adjoining to existing roof whereby proofing treatment is removed in parts;

- The decision of the Engineer-in-charge with regard to cause of leakage shall be final.

During this period of guarantee the guarantor shall make good all defects and in case of any defect being found, render the building water –proof to the satisfaction of the Engineer-in-Charge at his cost, and shall commence the work for such rectification within seven days from the date of issue of the notice from the Engineer-in-Charge calling upon him to rectify the defects, failing which the work shall be got done by the Department by some other contractor at the GUARANTOR’S cost and risk. The decision of the Engineer-in-Charge as to the cost, payable by the Guarantor shall be final and binding.

That if GUARANTOR fails to execute the water proofing or commits breach thereunder then the GUARANTOR will indemnify the Principal and his successors against all loss, damage, cost, expense or otherwise which may be incurred by him by reason of any default on the part of the GUARANTOR in performance and observance of this supplementary agreement. As to the amount of loss and / or damage and / or cost incurred by the Government the decision of the Engineer – in – Charge will be final and binding on the parties.

IN WITNESS WHEREOF these presents have been executed by the Obligor …………. and by ……….. and for and on behalf of the Director, AIIMS Rishikesh on the day, month and year  above written.

Signed, sealed and delivered by OBLIGOR in the presence of –

- ……………….

- ……………….

Signed for and on behalf of Director, AIIMS Rishikesh by ………..in the presence of –

- ……………….

- ……………….

LIST OF APPROVED MATERIALS (CIVIL)

Note :

- Unless otherwise specified, the brand/make of the material as specified in the item nomenclature or in the particular specifications or in the list of approved materials attached in the tender, shall be used in the work.

- The Contractor shall obtain prior approval from the Engineer-in-charge before placing order for any specific material/ Brand/ Make.

- Whenever the specified brand of material is not available than, the Engineer-in-charge may approve any material equivalent to that specified subject to proof being offered by the Contractor for its equivalence and its non-availability to his satisfaction.

MATERIALS:							BRAND/MAKE

| 1 | AAC Block | Aerocon, Siporex, Ultratech, Ecolite, Concrelite, J.K. Laxmi (Cement Ltd.), BILTECH, Kansal, Dlite Blocks |
| --- | --- | --- |
| 2 | AAC Block Adhesive | Ferrous crete(Ferro-1188), ARDEX ENDURA (White Star), Ultratech (Fixed-Block) |
| 3 | Acrylic Distemper, Emulsion, Synthetic Enamel Paint and Primer. | Asian Paints, ICI Dulux, Berger, Nerolac |
| 4 | Epoxy Adhesive | FOSROC, Aquomix , Choksey, BAL-ENDURA,MYK Laticrete |
| 5 | Aluminium Composite Panel | Alpolic, Aluco Bond, Reynobond, Euro bond, Alstrong |
| 6 | Aluminium Extrusions | Hindalco, Indalco, Jindal |
| 7 | Aluminum Sections | Jindal, Hindalco, Indalco |
| 8 | Annealed Float Glass | Saint Gobain, Modi Guard, Asahi |
| 9 | Bitumen | Indian Oil, Hindustan Petroleum, Bharat Petroleum |
| 10 | Calcium Silicate Board / Tiles | Aerolite, Hilux, Starpan |
| 11 | CC Pavers / Grass Pavers | Nitco, Hindustan, Ultra, KJS Concrete, Duracrete, Mehtab Tiles, Kaptim |
| 12 | Centrifugally Cast Iron Pipe & Fittings | NECO, SKF, BIC, RIF, KAPILANSH, HIF |
| 13 | Ceramic Tiles | Kajaria, Nitco, Orient Bell, Johnson, RAK Ceramics |
| 14 | Chequered / Tactile Tiles | Dura, Eurocon, Modern, Hindistan, Johnson, Eavison |
| 15 | CI Manhole Cover | BIC, SKF, NICO, Hepco, Kapilansh, RIF |
| 16 | CI Double flanged non-return valves | Kirloskar, Sant, Kartar |
| 17 | CP fittings | Jaquar, Marc, Kohler, Grohe |
| 18 | CPVC Pipes & Fittings | Astral Flowguard, Ashirvad, Prince, Supreme, Finolex,VECTUS |
| 19 | Curtain Carrier / Drapery Rod | Marvel, Vista levlor, Johnson. |
| 20 | Dash fastener, Expansion Bolt | Hilti, Bosch Fischer |
| 21 | Hydraulic Door closer, Floor springs | Dorma, Hettich, Hafele, Geze |
| 22 | Ductile Iron Pipe (Water Supply) | Electro steel, Kesso, KDUPL, Electro Spun |
| 23 | EPDM Gasket | Hanu, Anand, Lescuyer |
| 24 | GRC / Tactile Tile | Unistone, Eurocon, Dazzle |
| 25 | Epoxy Grouting Compound | Pidilite, Ferrous Crete(Ferro-102), MYK LATICRETE, Fosrock |
| 26 | Epoxy Primer & Paints | Berger, Pidilite, CICO, BASF, SIKA, Fosrock |
| 27 | Fire Check door | Navair, Godrej, Shakti |
| 28 | Float Glass Mirror | Modifloat, Saint Gobain, Asahi |
| 29 | Flush Doors (ISI Mark only) | Century, Kitlam, Archid, Greenply, Marino, Duro, Gujcon |
| 30 | Friction Stay | Earl-Bihari, Geze, Hettich, Securistyle |
| 31 | Galvanized/Stainless Steel Anchor Fasteners | Shakti, Arrow, Hilti, Fischer |
| 32 | GI Pipe & fittings | Tata, Zenith, Jindal, Prakash Surya, Swastik; (ISI Marked only) |
| 33 | GI Sheet | Sail, TATA, Jindal or equivalent |
| 34 | Gun Metal Gate Valve | Zoloto, Leader, SANT, Prima |
| 35 | Glass Mosaic Tile | Bisazza, Italia, Palladio, Mridul |
| 36 | Gypsum Board (False Ceiling) | Boral Gypsum, India Gypsum, St. Gobain |
| 37 | Hardener | Hardcrete of Snowcem India, Pidilite, CICO. |
| 38 | HDPE Pipes | VECTUS, Emco, Polyfins, Pioneer, Plyfab |
| 39 | Jet Assembly for EWC/Health Faucet | Parryware , Jaquar, Marc, PRIMA(ISI) |
| 40 | Kitchen loft tank | Sintex, Tirupati Structurals Ltd, KMS Plast world P.Ltd. Planet Plastics, Sri Kamakshi Traders, Sreyah Novel InC. |
| 41 | Laminate and Veneers | Merino, Greenlam, Kitlam, Duro |
| 42 | Locks / Latch | Godrej, Harrision, Dorma, Doorset (ISI) |
| 43 | Marine Plywood / BWP Ply | Duro, Century, Greenlam |
| 44 | Melamine Polish | Asian Paints, Pidilite, ICI Dulux, Burger |
| 45 | Metal False Ceiling | Nitobond, Armstrong, Trac, Durlum, Lafarge, Anutone |
| 46 | Mineral Fibre/ GRG Ceiling | Armstrong, Daiken, Anutone, Diamond, Credence |
| 47 | M.S. Pipe (Railing) | Jindal, Tata, RINL, Prakash Surya |
| 48 | M.S. Tubes | Tata, Apolo, Prakash Surya |
| 49 | Multicoat Synthetic Plaster/ Textured Exterior wall paint | Spectrum, Heritage, Ultratech |
| 50 | Plywood, Block Board | Greenply, Century, Duro |
| 51 | Polycarbonate Sheet | Danpalon (DPI), Bayer, Macrolux |
| 52 | Polysulphide / Silicon Sealent | Pidilite, Fosroc, Tuffseal, Chouksey Chemicals, Perma, BASF |
| 53 | POP (Plaster of paris) | JK, Laxmi, Sriram Nirman, Sakarni |
| 54 | PPR Pipes | SFMC, SAFE, Poineer Industries |
| 55 | Precast CC interlocking Tiles | Hindustan, Paver India, KK |
| 56 | Precoatd Profile Sheet | Tata, Bhushan or equivalent |
| 57 | Pre-laminated Particle Board | Ecoboard, Action-Tesa, Duro, Century Ply, Greenlam, Albihari |
| 58 | Pressed steel door frame | M/s Engineers & Fabricator, Raipur, M/s J.K. Enternprises, Jaipur, M/s Jangid Engineering Works, Jaipur, M/s Swastik Super Industries, Mohali, M/s SKS Steel Industries, New Delhi. |
| 59 | PTMT Fittings | Prayag, Polytuf, Pearl, Millennium, PRIMA |
| 60 | PVC Cistern | Steelbird, Jindal, Seabird, Prayag, Commander |
| 61 | PVC Connection Pipe | Supreme, Prince, Finolex |
| 62 | PVC Rain Water Pipe & Fitting | Finolax, Kisan, Kasta, Supreme, Astral, Prince |
| 63 | Ready Mix Concrete (RMC) | Lafarge, Alchon, ACC, L&T, Grasim, Ultratech, RMC India |
| 64 | Ready Mix plaster | Ultratech, Precisecon Chem, Perma, Ferrous Crete, JK, Fosrock, |
| 65 | PVC Shutter | Polygreen, Rajshri, Plastogreen, Sintex |
| 66 | PVC Water storage Tank (Only ISI) | VECTUS, Water well, Plasto, Polycon, Sintex. (Weight as per ISI) |
| 67 | Sluice Valve | Kirloskar, Venus, Kalpana, SANT, KARTAR, Zolto |
| 68 | Solid PVC frames and shutters | Polygreen, Rajshri, Plastogreen, Sintex |
| 69 | Stainless Steel | Jindal, Salem or equivalent |
| 70 | Stainless steel Sink with or without Draining board. | Nirali, Hindware, Frankee, Neelkanth, Jaquar |
| 71 | Stainless steel Door/Window fittings & Fixtures | Dorma, Ozone, D-Line, Hettich, Kich, Geze |
| 72 | Structural steel section | TATA, SAIL, RINL, Jindal |
| 73 | Super plasticizer / admixture | Sika, Fosroc, Chouksey Chemicals, BASF |
| 74 | Tensile Fabric | Bluestone, Encon, Structure Flex |
| 75 | Tile Adhesive | Ferrous Crete(Ferro-1122), Ardex Endura (Gold Star), PIDILITE (Fevimate XL), WEABR(Saint-Gobin) Sika, Thermoshield, Somany |
| 76 | Towel Ring/Towel Rod/Towel Rack | Marc, Jaquar, Kolher, Grohe |
| 77 | Tubular steel Window, ventilator, Door frame | M/s Engineers & Fabricator, Raipur, M/s J.K. Enterprises, Jaipur, M/s Swastik Super Industries, Mohali (Punjab) M/s Jangid Engg. Jaipur |
| 78 | UPVC Pipes & Fittings | Astral Flowguard, Ashirvad, Prince, Supreme, Finolex,VECTUS |
| 79 | Urinal, Washbasin, Orrisa Pattern W.C., Wall mounted European W.C.Seat with Cistern | Hindware, Parryware, Jaquar, Cera, Kolher, Grohe |
| 80 | Vitrified Tile | Johnson -Marbonite, Somany, Kajaria, Orient Bell, NITCO, RAK |
| 81 | Wall Putty | JK, BIRLA, SARAPUTTY |
| 82 | Waste Pipe | Kamal, Viking, Jaquar |
| 83 | Water Proofing Compound (Liquid) | Pidilite, Cico, Impermo |
| 84 | White Cement | JK White, Birla White, Grasim |

Schedule of Quantity

Name of work: Construction of working counter for Account Section at AIIMS Rishikesh

| S.NO | Description of work | Unit | Qty. | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1.0 | Providing and laying 19 mm thick BWP ply (duro or equivalent make) in shelves/ partitions/ side/ bottom and top with M.S. screws fevicol completed in cup board as per the direction of Engineer in charge. | Sqm | 130.00 |  |  |
| 2.0 | Providing and fixing stainless steel adjustable legs load bearing capacity 350 kg/ each wide foot diametre 80 mm in a black plastic finish etc. complete as per direction of Engineer-in-charge. | Each | 50.00 |  |  |
| 3.0 | Providing and fixing auto closed stainless (304 grade) hinges with necessary screws of earlbihari, EBCO or Hettich make complete with stainless steel screws as per the direction of Engineer-in-charge. | Each | 50.00 |  |  |
| 4.0 | Providing and fixing PVC tape 1 mm thick fixed with adhesive on the edge of the commercial board as per direction of Engineer-in-charge. | R.Mtr. | 40.00 |  |  |
| 5.0 | P/F powder coated telescopic drawer channels 20" long with necessary screws etc. complete as per directions of Engineer-in-charge. | Each | 30.00 |  |  |
| 6.0 | Providing and fixing special quality bright finished brass cupboard or ward robe locks with four levers of approved quality including necessary screws etc. complete. |  |  |  |  |
| 6.1 | 40 mm | Each | 30.00 |  |  |
| 7.0 | Providing and fixing bright finished brass handles with screws etc. complete: |  |  |  |  |
| 7.1 | 125 mm | Each | 30.00 |  |  |
|  | Total amount in RS. |  |  |  |  |