## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Executive Engineer, AIIMS Rishikesh
Name of Work: Designing, Planning, Modification and SITC of Extension LT Panel in Substation-1 & 2 at AIIMS Rishikesh
NIT No: EW-Mod/5/2020-215
Name of the Bidder/ Bidding Firm / Company : | 1
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE including GST In Figures To be entered by the Bidder in Rs. P | Excise Duty | GST in % | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT with taxes | TOTAL AMOUNT with Taxes In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 6 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Planning,Designing and SITC of M.V. cubicle type totally enclosed, Free standing type, powder coated, dust proof, 2 mm thickness CRCA powder coated sheet, damp and vermin proof, indoor type Panel complete with busbars, M.V. danger notice plate, interconnections with suitable capacity aluminium bars/solid aluminium strips/rods, connection of incoming and outgoing cables with thimbles, and having following incoming and outgoing switchgears complete as per techinical specification and as required. (Complete detail of items in Tender document BOQ). | item1 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2 | Planning,Designing and SITC of M.V. cubicle type totally enclosed, Free standing type, powder coated, dust proof, 2 mm thickness CRCA powder coated sheet, damp and vermin proof, indoor type Panel complete with busbars, M.V. danger notice plate, interconnections with suitable capacity aluminium bars/solid aluminium strips/rods, connection of incoming and outgoing cables with thimbles, and having following incoming and outgoing switchgears complete as per techinical specification and as required. (Complete detail of items in Tender document BOQ). | item2 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3 | SITC of 2500 Amps Straight Length Busudct, 80 kA for 1 Sec (IP-55, Indoor) (Complete Specification in Tender document BOQ) | item3 | 80 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4 | SITC of 2500 Amps 90 Degree Bends (Complete Specification in Tender document BOQ) | item4 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5 | SITC of 2500 Amps Flange End (Complete Specification in Tender document BOQ) | item5 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6 | SITC of 2500 Amps Adopter Box (Complete Specification in Tender document BOQ) | item6 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7 | SITC of 2500 Amps Copper Flexible (Complete Specification in Tender document BOQ) | item7 | 4 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | SITC of 2500 Amps Phase Transposition Unit (Complete Specification in NIT BOQ) | item8 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | SITC of 2000 Amps Straight Length Busudct, 80 kA for 1 Sec (IP-55, Indoor) (Complete Specification in NIT BOQ) | item9 | 60 | Meter | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | SITC of 2000 Amps 90 Degree Bends (Complete Specification inTender document BOQ) | item10 | 14 | Nos | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | SITC of 2000 Amps Flange End (Complete Specification in Tender document BOQ) | item11 | 4 | Nos | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
12 | SITC of 2000 Amps Adopter Box (Complete Specification in Tender document BOQ) | item12 | 4 | Nos | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
13 | SITC of 2000 Amps Copper Flexible (Complete Specification in Tender document BOQ) | item13 | 4 | Set | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
14 | SITC of 2000 Amps Phase Transposition Unit (Complete Specification in Tender document BOQ) | item14 | 5 | Nos | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | Supply of Aluminum conductor XLPE insulated sheath armoured cable of 1.1KV grade conforming to IS:1554 3.5 x 300 sqmm | item15 | 1000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required 120 mm dia (OD-120 mm & ID-103 mm nominal) | item16 | 1000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/ DWC HDPE pipe as required. Above 185 sq. mm and upto 400 sq. mm | item17 | 1000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 300 sq. mm (70mm) | item18 | 8 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
19 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required | item19 | 10 | Each | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
20 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | item20 | 4 | Set | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
21 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | item21 | 4 | Set | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
22 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | item22 | 50 | Meter | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
23 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | item23 | 50 | Meter | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
24 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | item24 | 150 | Meter | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information